|  | Portable Air Monitor Compressed Air Quality Test |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Unit Name/Address |  |  |  |  |  |  |
| Date Sampled: |  |  |  |  |  |  |
| PAM Serial Number: |  |  |  |  |  |  |
| Activity Code: |  |  |  |  |  |  |
| Air Source: |  |  |  |  |  |  |
| Analysis Performed |  |  | Specifications for Gas Sample |  | Results of Gas Sample Analysis |  |
| Oxygen (Volume %) |  |  | 20 – 22 |  |  |  |
| Carbon Dioxide (ppmv) |  |  | 1000 |  |  |  |
| Carbon Monoxide (ppmv) |  |  | 20 |  |  |  |
| Volatile Organic Compounds (ppmv) |  |  | 10 |  |  |  |
| Odor (Objectionable) |  |  | No |  |  |  |
| This is to certify that the above referenced sample does or does not meet the air purity standard for NAVSEA 0910-LP-106-0957 US NAVY DIVING MANUAL, VOL 1 REV 6, 15 April 2008, Tbl 4-1. (circle one) |  |  |  |  | DOES Meet |  |
|  |  |  |  |  | DOES NOT Meet |  |
|  |  | Authorized Tester |  |  |  |  |
| Printed Name |  | Signature |  | Rank |  | Date |